# A-101 Eval

Full image:

Overlay:

Before:

After:

Crop 1:

Overlay   			Before 				  After

Action: Decrease, Aspect: Door, Mark: 101A

Crop 2:

Overlay:			Before				After

Action: Remove, Aspect: Ventilation equipment and screening, RelativeLocation: To the left of MRF Building

Crop 3:

Overlay:

Before:

After:

Action: Extend. Aspect: (E) RECYCLING BUILDING (MODIFIED)

Action:Remove. Aspect: Mechanical equipment (suspect not noted)

Action: Add. Aspect: staircase

Crop 4:

Overlay:			    Before				After

Action:Add Aspect: outdoor balcony. Location: Backyard Building

Crop 5:

Overlay:			Before:				After:

Action: Add. Aspect: Crane. Location: Backyard Building

Crop 6:

Overlay:			Before:				  After:

Action: Change.  Aspect: ventilation equipment and screening to Genset & firepump room

Action: Add. Aspect: Man door entrace/Exit. Location: Genset & firepump room

Action: Add. Aspect: Finish Floor 4’-0”. Location:Genset & firepump room

Crop 7:

Overlay:			   Before:			 	    After:

Action: Reduce.  Aspect: landscape area. Location: left corner of the building.

Crop 8:

Overlay:

Before:

After:

Action: Remove

Aspect: (E) CONC. OFFICE AND MAINT. BUILDING

Crop 9:

Overlay:

Before:

After:

Action: Add

Aspect:Structural Pillar (suspecting, no show or keynote on the drawing)

Value: 24

Location: Backyard Building

Action: Change

Aspect: Area

Value: from 181,321 SF to 183,945 SF

Location: Backyard Building

Action: Change

Aspect: Area

Value: from 2624 SF to 2160 SF

Location: Staff Building

Action: Change

Aspect: Area

Value: from 825 SF to 400 SF

Location: Fire Pump Room

Crop 10:

Overlay:			Before:				After:

Action:Move

Aspect:GridlineA

Direction:Up

Value:(253’-9 1/16”) to ( 276’-8 1/18”)

Location:From GridlineD