"A-113":

AI Summary: "Cleared context; retained only staff restrooms and break room.",

- "Removed MRF, bale storage & backyard building outlines (context shading cleared)".

- "Deleted (E) conc. bunker and conveyor graphics outside core area".

- "Retained only the Staff Restrooms & Break Room footprint and callouts",

- "Removed gridlines and keynotes outside the break-room area",

- "Revision clouds around all cleared context elements"

Human Summary:

Summary Updated:

Key Notes:

Added Keynotes 10.Electrical Gear, 11. Emergency Generator and 12.Fire Pump Room

Building Enlarged North Backyard Floor Plan Sketch Updated List:

IArtist’s Stuio Removed and Electrical Gear Added

Text Indicated 103-Fire Pump Room, 105-Rest room and 104-Genset & Electrical.

Mechanical Ventilation Equipment Removed at outside Bale storage.

Staircase Added in Between Grid E6 & E7 and Detail Added 1/A-107.

Section Detail Added – 3/A-407 and Elevation Detail Added – 3/SK-017 and Notification mentioned.

Wall Section Detail Added – WS-22 at outside Bale storage.

Opening D-20 Shifted in between Grid No DD11 & DD12

West Side of Backyard building Detail 12/A-502 changed to 10/A-502 and Notified.

Wood Grinder and Conveyor Removed from Backyard Building.

Electrical room Removed from West side of Backyard Building.

Shifted Detail 001/A-501, 9/A-502 & 002/A-501 in between Grid line No E3 and E4.

Schedule of opening D5 tag changed into D5.1 and size changed.

Opening D22 along with Wall removed and Added Staircase & Detail added 1/A-407.

P3 Metal wall panel added on Grid – E.

Detail 10/A-503 Changed.

Column base plate Missing on Grid U15.

New Steel Push Wall 16’ Tall Removed.

Chamber 2 Removed at Backyard building.

Opening D2 Size changed.

Fire pump room Rest room and Genset & Electrical notified as Detail 1/A-406.

Opening D3 tag changed into D5 and Size changed.

Finished Floor Height + 4’-0” Notified at 103.Fire Pump room and 105 Rest Room