G-105

AI Summary: "Revised code analysis: building area and occupant loads.",

- "Total building area increased from 251,800 SF to 259,136 SF",

- "Occupant load tables updated to reflect new floor areas",

- "Egress width and number of exits recalculated based on revised loads

Human Updated:

Building Area Summary:

Building Area Summary Notified  7  .

MRF Building updated Building Area Summary from 61,789 S.F to 67,390 S.F

Backyard Processing Building Updated Building Area Summary from 181,321 S.F to 183,945 S.F

Updated Building Area Summary was Removed (N) Bale Storage Façade : 686 S.F

Updated Building Area Summary (N) Staff Break Room Reduced From 2,624 S.F to 1,735 S.F

Removed   5   Notification at Total Proposed Building Area.

MRF/Backyard/Bale Storage Building Code Summary:

Updated USE Group Mentioned & Changed as F-1 to S-1

Updated Actual Building Area increased from 249,437 S.F to 257,718 S.F

Staff Break Room and Restrooms Building Code Summary:

Updated Actual Building Area Reduced from 3,049 S.F to 2,160 S.F

Building Occupancy Calculation:

Building Occupancy Calculation Notified  7  .

MRF Building: Area increased 61,789 S.F to 67,390 S.F and Occupants also increased 124 to 134.

Backyard Processing Building: Area increased 181,321 S.F to 183,945 S.F and Occupants also increased 363 to 366.

(E) Bale Storage: Storage Area increased 6,327 S.F to 6,383 S.F. and Occupants also increased 19 to 21.

Staff Facilities: Break Room Area Reduced 1,241 S.F to 1,060 S.F and Occupants also Reduced 83 to 71.

Staff Facilities: Restrooms Area Reduced (Randall - 843 S.F + Pendleton - 825 S.F) to 425 S.F.

Total Occupancy Load: Occupants increased 589 to 592.

Parking Analysis:

Use:

Recycling (Bale Storage) Area increased 6,327 S.F to 6,383 S.F and Revision Cloud removed in Spaces Req’D 13.

Proposed warehouse (over 10,000 S.F) increased 233,110 S.F to 241,735 S.F and Spaces Req’D increased 47 to 49.

Removed Fire pump room.

Break Rooms/ Rest room Areas Reduced 2,360 S.F to 2,160 S.F and Spaces Req’D increased 4 to 5.

Total Floor Area changed as Total Zoning Floor Area and Area Reduced 288,435 S.F to 283,278 S.F and

Notification changed   5   to    7  .

Plumbing Fixture Count Calculation:

Notification of Plumbing Fixture Count mentioned    7  .

MRF + Backyard(Combined): Operations and Storage Area increased (MRF – 70,746 S.F + Backyard – 183,945 S.F) to 260,277 S.F and Occupants Combined (MRF – 14 + Backyard – 37) = 51.

MRF + Backyard (Combined) Table updated:

| USE | OCCUPANCY | MINIMUM PLUMBING FIXTURES PER 2016 CPC TABLE A |  |
| --- | --- | --- | --- |
|  |  | MEN | WOMEN |
| S-1 | 51 Occupants 26 Male 26 Female | - Urinals - W.C - Lavatories | - W.C - Lavatories |
|  |  | - Drinking Fountain - Sink |  |

Staff Break Rooms Changed Staff Facilities:  Staff Break Rooms Area increased 1,667 S.F to 1,735 S.F and Occupants increased 56 to 58.

Staff Facilities Table updated:

| USE | OCCUPANCY | MINIMUM PLUMBING FIXTURES PER 2016 CPC TABLE A |  |
| --- | --- | --- | --- |
|  |  | MEN | WOMEN |
| S-1 | 58 Occupants 29 Male 29 Female | - Urinals - W.C - Lavatories | - W.C - Lavatories |
|  |  | - Drinking Fountain - Sink |  |

| Total Fixtures Provided | Total Fixtures Required |
| --- | --- |
| (4) Urinals (7) W.C (7) Lavatories | (1) Urinals (5) W.C (4) Lavatories |
| - Water Stations - Sink | - Drinking Fountain - Sink |

Building Plan Sketch Updated:

MRF Building Area increased and Shown in Revised Cloud.

Staff Break Room and Restrooms Shifted to Building outside and Area reduced (Shown in Revised Cloud).

(N) Bale Storage Façade removed.

Added (N) Reinforcement Façade Area 742 S.F. (Hold for Future Permit).

(N) Fire Pump/Rest Room Shifted and notified as Occupancy S-1.

Backyard Building Area increased and Shown in Revised Cloud.

Water inlet Pipe Direction indicated for (N) Fire Pump/Rest Room, MRF Building and Staff Break Room and Restrooms.

Pendleton Street Width reduced.